Factory
network
ACS “WChM”
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
CHB
Redundancy
ExpressLaboratory
Ethernet
Ethernet
I-7520R
I-7520R
RS-485
RS-485
1 2
RS-485
1...9
Nonoperative contour of boiler #8
Water-preparation
CC8 — ACS BDM8, mills
UPS
BlockCalc
Sockets
OpenSCADA
PLC
JavaLikeCalc
SelfSystem
ICP_DAS
LogicLev
Serial
ModBus
LP-8781
LAN
1, 2
COM
2,3,4,5
CC7 — ACS BDM7, mills
UPS
BlockCalc
Sockets
OpenSCADA
PLC
JavaLikeCalc
SelfSystem
ICP_DAS
LogicLev
Serial
ModBus
LP-8781
LAN
1, 2
CC3 — Phosphate
I-87K9
ATV312
1 2 3 4
SQLite
OpenSCADA
AWP
DB
JavaLikeCalc
FSArch
AWP
(supply water correction )
Archive
LogicLev
DAQGate
Sockets
SelfSystem
ModBus
VCAEngine
Vision
UPS
All in one PC ET1612
LAN
CC1 — Amination
UPS
BlockCalc
Sockets
OpenSCADA
PLC
JavaLikeCalc
SelfSystem
ICP_DAS
LogicLev
Serial
ModBus
LP-8781
COM
2,3,4,5
1 2
ATV32
LAN
1, 2
CC4 — Generic-station controller
LP-8781
Sockets
OpenSCADA
PLC
SelfSystem
ICP_DAS
ModBus
Serial
UPS
BlockCalc
JavaLikeCalc
LogicLev
COM
2,3,4,5
LAN
1, 2
...
CC2 — Hydrazine
UPS
BlockCalc
Sockets
OpenSCADA
PLC
JavaLikeCalc
SelfSystem
ICP_DAS
LogicLev
Serial
ModBus
LP-8781
COM
2,3,4,5
1 2
ATV32
LAN
1, 2
SQLite
FSArch
Sockets
QTCfg
OpenSCADA
AWP
DB
Archive
LAN
Vision
JavaLikeCalc
VCAEngine
DAQGate
SelfSystem
AWP1 (ACS BDM)
SQLite
FSArch
Sockets
QTCfg
OpenSCADA
AWP
DB
Archive
LAN
Vision
JavaLikeCalc
VCAEngine
DAQGate
SelfSystem
AWP2 (ACS BDM)
Mill 7A
Mill 7B
Boiler 7
CFC — ACS BDM 7
Contour
nonoperative
Mill 8A
Mill 8B
Boiler 8
CFC — ACS BDM 8
Contour
nonoperative
CC9 — ACS BDM9, mills
UPS
BlockCalc
Sockets
OpenSCADA
PLC
JavaLikeCalc
SelfSystem
ICP_DAS
LogicLev
Serial
ModBus
LP-8781
LAN
1, 2
Mill 9A
Mill 9B
Boiler 9
CFC — ACS BDM 9
Contour
nonoperative