Redundancy
DES-1008
Ethernet
CHB
1 2
RS-485
CC8 — ACS BDM8, mills
UPS
BlockCalc
Sockets
OpenSCADA
PLC
JavaLikeCalc
SelfSystem
ICP_DAS
LogicLev
Serial
ModBus
LP-8781
LAN
1, 2
COM
2,3,4,5
SQLite
FSArch
Sockets
QTCfg
OpenSCADA
AWP
DB
Archive
LAN
Vision
JavaLikeCalc
VCAEngine
DAQGate
SelfSystem
AWP1 (ACS BDM)
SQLite
FSArch
Sockets
QTCfg
OpenSCADA
AWP
DB
Archive
LAN
Vision
JavaLikeCalc
VCAEngine
DAQGate
SelfSystem
AWP2 (ACS BDM)
Mill 8A
Mill 8B
Boiler 8
CFC — ACS BDM 8
Contour
nonoperative